%N atrtfix

%D Correct for misbehaving round trip system

%P rjs

%: uv analysis

%B

ATRTFIX corrects data for errors in the round trip phase measurement.

This is only needed when the round trip measurement malfunctions.

%A vis

The input visibility file to correct. No default.

%A out

The output corrected file. No default.

%A rtphase

A text file containing the round trip phase measurements.

No default.

%A options

Extra processing options.

glitch  Only modify the phase to account for glitches (not

the gradual variation).

%A offset

Offset, in seconds, between the recorded values and the data