%N ellint

%D Integrate a Miriad image in elliptical annuli.

%P mchw

%: image analysis

%B

ELLINT integrates a Miriad image in elliptical annuli in the first

two dimensions. E.g. to find the radial brightness distribution,

or flux density as a function of distance in a galaxy. The

integration is done separately for each image plane in the region

included.

The output consists of 6 columns. They are the

outer radius (arcsec for RA, DEC images) of the annulus;

number of pixels in the annulus;

the average (median) in the annulus;

the rms of the annulus;

the sum in the annulus normalized by the volume of the primary beam

(if there is one);

the cumulative sum for all annuli so far.

%A in

Input image name. xyz images only. No default.

%A out

Optional output image containing the residuals from the average values

in each annulus. By default this image is not created.

See also options=spline to get better results for noise free images.

%A region

Region of image to be integrated. E.g.

% ellint region=relpix,box(-4,-4,5,5)(1,2)

integrates the center 10 x 10 pixels for image planes 1 and 2.

Unmasked pixels within the bounding box are selected.

The default region is the entire image.

%A center

The offset of the center of the annuli in arcsec from the

reference pixel, measured in the directions of RA and DEC.

%A pa

Position angle of ellipse major axis in degrees. Default is 0 (north).

PA is measured in the usual sense, N through E (counter clockwise).

%A incline

The ellipse is assumed to be a circular structure that appears

elliptical because it is viewed at some inclination. The "incline"

parameter gives this inclination angle in degrees. Default=0. (face on)

%A radius

Inner and outer radii and step size along major axis in arcsecs.

The default is the whole image in steps equal to the pixel size.

Warning: for images where the center is not in the center you

may want to explicitly specify this keyword, to avoid missing

data.

%A telescop

If you request that the fluxes be corrected for the primary beam

(see OPTIONS), ELLINT will normally construct a primary beam type

using information from the dataset. However you can override this

with a primary beam type of your own choosing. The primary beam

type can either be a telescope name whose primary beam is known

(e.g. hatcreek, vla, atca, etc) or you can select a Gaussian form

with "gaus(xxx)". Here xxx is the primary beam FWHM in arcseconds.

For example gaus(120) is a telescope with a 120 arcsec primary beam.

%A scale

Scale factor applied to the amplitudes before printing them.

Default=1.

%A options

Task enrichment options.  Minimum match is active.

pbcorr    This causes the images to be corrected for primary beam

attenutation before integrating.

median    Find the median of each annulus instead of the average.

mode      Find the mode of each annulus instead of the average.

natural   Assume keywords "center" and "radius" are in natural

units rather than arcsec.

table     Output ring data in logfile. No fitting done. Logfile

now contains coordinates w.r.t. the reference pixel

(in arcsec), the image value, and the radius in the disk

defined by PA and INCLINE.

spline    use a spline fit unstead of a step function to estimate

the intensity at any radius for residual images

%A medsmooth

Smoothing option of radial profile when option=median is used in

residual map computation. These are the number of pixels added

before and after the ring.

Default: 0

%A log

The output log file. The default is the terminal.