%N blcal

%D Compute and apply baseline calibration.

%P rjs

%: uv analysis

%B

BLCAL computes and applies baseline-based calibration to a visibility

dataset.

This reads two datasets. It uses the first dataset to determine

baseline-based calibration, and applies these calibration corrections

to the second dataset.

%A vis

Normally, this gives the name of two visibility datasets, being

the "reference" and the "source" datasets respectively. The

reference dataset is used to determine the baseline calibration,

whereas the source contains the data that is corrected and written

out. If only a single dataset is given, then this is self-calibrated.

Baseline-based self-calibration is a very dubious operation, and

generally should not be performed.

Note: Both the reference and source datasets should be in time order.

%A select

The normal uv selection commands -- see the help on "select" for

more information. This selection is applied to both the reference

and source input datasets.

%A line

The normal uv linetype in the form:

line,nchan,start,width,step

See the help on "line" for more information.

The default is all channels (or all wide channels if there are no

spectral channels). The output will consist of only spectral or

wideband data (but not both).

%A stokes

Normal Stokes/polarisation processing. See the help on "stokes"

for more information. The default is to use the Stokes/polarisations

present in the dataset.

%A interval

Solution time interval, in minutes. The default is a single solution.

%A out

The name of the output uv data set. No default.

%A options

Extra processing options. Possible values are:

nopassol  Determine a solution which is independent of channel number.

nopolsol  Solve for parallel-hand polarisations only. When

applying corrections, cross-hand correlations get corrected

with a parallel-hand gain. In particular XY and YX are

corrected with the mean of the XX and YY gains; RL and LR

are corrected with the mean of RR and LL gains; Q,U, and V

are corrected with the I gain.

replace   Rather than writing the corrected dataset, write out a

dataset where the data are replaced with the model of a

unit point source with baseline errors.